## Sheet1
LFRWMP Sampling, Sample Analysis, and other Work Matrix |  |  |  |  | 2017-01-22
COC FORMS - GROUP Low Flows by Funding Source (BAIRD; PLUM; SILVER; Oneida); EVENTS: separate COC per site or EOF Pair
FUNDING SOURCES (different colors) | BAIRD | BAIRD | BAIRD | SILVER-NEW-Water | PLUM | PLUM | PLUM | PLUM | ONEIDA-GLRI
STREAM/FIELD | Mahon | Mahon Culvert | BAIRD | SILVER | PLUM | Plum West | Edge-of-Field, PLUM Watershed | Edge-of-Field, WETLAND | Edge-of-Field, ONEIDA GRAZING
EVENT Samples: ISCO bottles (filter dP): (processing done by team, split, filter, preservative TP & dP) | UWGB LAB: SSC, TP & some dP (MA-2xxx) | UWGB LAB: none so far, but will collect during event to calibrate Turbidity relationship (MAC-xxxx) | GBMSD LAB: TSS, TP, some dP BA-xxxx NO LONGER SAMPLED FOR EVENTS | GBMSD LAB: TSS, TP, some dP; check 2 rain gauges if needed; (SL-EVT-1xxx); SL-FLD-xxx for low flow or grabs | GBMSD LAB: TSS, TP, some dP; plus some TKN & NO2/NO3 check 2 rain gauges if needed; (PL-1xxx) | GBMSD lab: TSS, TP, some dP; plus some TKN & NO2/NO3 (PLW-2xxx) | GBMSD LAB: PLUM EOF's: TSS, TP, dP some TKN, NO2/NO3 Discrete samples: PF-W-5xxx; PF-E-6xxx; Composite samples: PF-W-xxx; PF-E-xxx (sequential) | GBMSD LAB: WETLAND/EOF: Composite & Discrete samples: WT-S-xxx = SURFACE; WT-T-xxx = TILE; WT-P-xxx = POND outlet (sequential); NOTE: discrete MAY use Logged ISCO # | GBMSD LAB: ONEIDA EOF's: Discrete samples: OF-S-7xxx; OF-N-1xxx; Composite samples: OF-S-xxx; OF-N-xxx (sequential)
collection, typically: | Forrest or Paul | N/A | Forrest or Paul | Forrest or Paul | Forrest or Paul | Forrest or Paul | Forrest or Paul | Forrest, then Paul | Forrest or Paul
LOW FLOW Samples, 1/month; and USGS samples 1/month in Fridge & add label: ALL TO GBMSD (NEWWATER) LAB | GBMSD lab: TSS, TP, dP MA-xxx | GBMSD lab: TSS, TP, dP MAC-xxx | GBMSD lab: TSS, TP, dP BA-xxx | GBMSD lab: TSS, TP, dP (SL-FLD-xxx) | GBMSD lab: TSS, TP, dP; (PL-xxx) check 2 Rain Gauges | GBMSD lab: TSS, TP, dP; (PLW-xxx) download logged data | N/A, just check equipment and upstream, downstream and inside of flume for debris & dirt buildup | N/A, just check equipment and upstream, downstream and inside of flume for debris & dirt buildup | N/A, just check equipment and upstream, downstream and inside of flume for debris & dirt buildup
LOW FLOW Discharge measurements, during sampling: use OTT ADC; tape down at same time | 1/month | 1/month |  |  |  | 1/month | N/A | N/A | N/A
Measure EVENT Flows: Stream Pro and OTT ADC, tape down at same time | OTT when possible, or v. large events try Stream Pro | OTT, but difficult v. flashy flow |  |  |  | Stream Pro, else OTT for moderate flow
Hydrolab in-situ Sondes; 1) Flush after events 2) Biweekly maintenance or replace May to Sept. 3) monthly replace October - April | TBD | TBD
UWGB - Lab Analysis, etc
TP & dP digestions and Lachet analysis | Gillian oversee | Gillian oversee