| ## Room Number: |  | ## Date: |  |
| --- | --- | --- | --- |

## LABORATORY INSPECTION CHECKLIST

For each item check Yes, No, or N/A.  Take corrective action for “No” items.

| Y | N | N/A | General Safety |
| --- | --- | --- | --- |
|  |  |  | - Housekeeping is satisfactory - floors clear, dry and free of slip hazards; bench tops (including hoods) reasonably organized and clean? |
|  |  |  | - Area around fire extinguishers, pull alarms, emergency showers, eye wash and electrical panels kept clear? |
|  |  |  | - Eye wash present, clearly labeled and flushed weekly? |
|  |  |  | - Fire extinguisher present, mounted, accessible, seal intact, date tested? |
|  |  |  | - Eighteen-inch vertical clearance maintained from fire sprinkler heads? |
|  |  |  | - Food and drink absent? |
|  |  |  | - Refrigerators/freezers labeled either “Food & Drink Only” or “No Food & Drink”? |
|  |  |  | - Extension cords and power strips not daisy chained and no permanent extension cords in use? |
|  |  |  | - No exposed wiring or damaged electrical cords? |
|  |  |  | - Personal protective equipment available and used? |
|  |  |  | - Personnel are trained on chemical hazards? |
|  |  |  | - Emergency contacts current? |
|  |  |  | ### Hazardous Materials & Waste |
|  |  |  | - Chemical inventory is current? |
|  |  |  | - SDSs are kept in a central location? |
|  |  |  | - All containers, including non-hazardous chemicals and wastes, legibly labeled with the full chemical or trade name and hazard warning when needed? |
|  |  |  | - Chemical and waste containers in good condition and closed except during use? |
|  |  |  | - All waste containers have appropriate waste label? |
|  |  |  | - Incompatible materials segregated? |
|  |  |  | - Flammable liquids >10 gallons (including flammable waste and acetic acid) stored in flammable liquid storage cabinets? |
|  |  |  | - Flammables that are refrigerated are placed in explosion-proof or flammables refrigerators only? |
|  |  |  | - Storage in fume hoods minimized and sashes kept closed when not in use? |
|  |  |  | - Hazardous material spill cleanup kits and first aid kits available? |
|  |  |  | - Biohazardous waste managed properly? |
|  |  |  | - Gas cylinders properly secured, labeled, and stored? |