Appendix A

UW-Green Bay Permit-Required Confined Spaces

|  |  |
| --- | --- |
| **Description of permit space** | **Department staff entering space** |
| Sanitary sewers | No UW-Green Bay staff, outside contractor |
| Storm sewers | No UW-Green Bay staff, outside contractor |
| Elevator pits | Maintenance, outside contractor |
| Sump pump pits & sanitary pits | Maintenance, Heat/Chill |
| Water irrigation (soccer pump house) | Maintenance, Grounds |
| Stage lift pits (Weidner & TH) | Weidner |
| Orchestra pit (Weidner) | Weidner |
| Scenery painting pit (TH) | NA |
| Communication pits & vaults | Information Technology |
| Boilers (Power Plant) | Heat/Chill |
| Condensate tank (Power Plant) | No UW-Green Bay staff, outside contractor |
| Deairator tank (Power Plant) | Heat/Chill |
| Cooling tower flume (Power Plant) | Heat/Chill |
| Electrical vault (Power Plant) | Heat/Chill, Maintenance, contractors |
| Water reducing stations  Leon Bond/Laboratory Science Dr.) | Heat/chill, Maintenance |
| Campus electrical vaults | Maintenance |
| Steam vault pit south of MAC Hall | Heat/chill, Electricians |
| Water pits | Housing maintenance/Maintenance |